CHAPTER 640

S.P. 1039 - L.D. 2621

An Act to Extend the Removal Deadline for Certain Repaired Concrete Underground Oil Storage Tanks

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  38 MRSA §563-A, sub-§8, as amended by PL 1997, c. 167, §1, is further amended to read:

8.  Repaired concrete underground oil storage tanks.  The requirements of subsection 1 do not apply to underground oil storage tanks that are constructed primarily of concrete and that:

A.  Exceed 100,000 gallons in capacity;

B.  Have been repaired after December 31, 1988;

C.  Have environmental monitoring and other leak detection procedures approved by the commissioner, including monthly visual monitoring for oil and monthly visual inspection of the tank piping; and

D.  Store only #6 fuel oil.

After October 1, 2000 July 1, 2002 or after a documented leak or subsurface discharge of oil, a person may not operate, maintain or store oil in a concrete underground oil storage facility or tank exempt under this subsection.  An owner or operator of a concrete underground oil storage tank exempt under this subsection is not eligible for coverage from the fund of clean-up costs and 3rd-party damage claim costs under section 568-A for any discharge discovered at that tank after October 1, 1997.

See title page for effective date.