§15103-A.  Director's powers and duties

1.  Regulation.  The director shall administer, coordinate and enforce this chapter.  The director may appoint an advisory committee to assist the director on any matter that may arise under this chapter, as needed.

[PL 2013, c. 70, Pt. C, §10 (NEW).]

2.  Rule-making authority.  The director shall establish guidelines and adopt rules necessary for the proper administration and enforcement of this chapter.  Rules adopted pursuant to this subsection are routine technical rules as defined in Title 5, chapter 375, subchapter 2‑A.  The rules must address, but are not limited to:

A.  Requirements for the safe and proper construction, installation, repair, use and operation of boilers and pressure vessels in this State.  The rules must conform as nearly as practicable to the code;  [PL 2013, c. 70, Pt. C, §10 (NEW).]

B.  Requirements for licensure of boiler operators, stationary steam engineers and authorized inspectors;  [PL 2013, c. 70, Pt. C, §10 (NEW).]

C.  Qualifications of welders performing welding on boilers and pressure vessels;  [PL 2013, c. 70, Pt. C, §10 (NEW).]

D.  Requirements for the method and frequency of boiler and pressure vessel inspections;  [PL 2013, c. 70, Pt. C, §10 (NEW).]

E.  Requirements for the nature and size of miniature boilers or pressure vessels to be inspected;  [PL 2021, c. 642, §48 (AMD).]

F.  Criteria by which a temporary extension of an inspection certificate beyond 14 months in the case of boilers and beyond 38 months in the case of pressure vessels may be authorized; and  [PL 2021, c. 642, §49 (AMD).]

G.  In accordance with Title 10, section 8003‑H and any applicable rules adopted pursuant to that section, a process to issue a license by endorsement for each license authorized under this chapter that the director determines appropriate for licensure by endorsement.  [PL 2021, c. 642, §50 (NEW).]

[PL 2021, c. 642, §§48-50 (AMD).]

SECTION HISTORY

PL 2013, c. 70, Pt. C, §10 (NEW). PL 2021, c. 642, §§48-50 (AMD).

The State of Maine claims a copyright in its codified statutes. If you intend to republish this material, we require that you include the following disclaimer in your publication:

All copyrights and other rights to statutory text are reserved by the State of Maine. The text included in this publication reflects changes made through the First Special Session of the 132nd Maine Legislature and is current through October 1, 2025
                    . The text is subject to change without notice. It is a version that has not been officially certified by the Secretary of State. Refer to the Maine Revised Statutes Annotated and supplements for certified text.

The Office of the Revisor of Statutes also requests that you send us one copy of any statutory publication you may produce. Our goal is not to restrict publishing activity, but to keep track of who is publishing what, to identify any needless duplication and to preserve the State's copyright rights.

PLEASE NOTE: The Revisor's Office cannot perform research for or provide legal advice or interpretation of Maine law to the public. If you need legal assistance, please contact a qualified attorney.