CHAPTER 597

S.P. 727 - L.D. 1879

An Act To Amend the Boiler and Pressure Vessel Law

Be it enacted by the People of the State of Maine as follows:

Sec. 1.  32 MRSA §15109, sub-§2, as amended by PL 1997, c. 691, §2 and affected by PL 1999, c. 127, Pt. D, §5, is repealed.

Sec. 2.  32 MRSA §15109, sub-§2-A is enacted to read:

2-A.  Licenses.  In order to safeguard life, health and property, the board shall provide for the mandatory licensing of stationary steam engineers and boiler operators.  This subsection does not apply to:

A.  Persons operating boilers exempt under section 15102;

B.  Persons employed by entities under the jurisdiction of the Public Utilities Commission or the United States Nuclear Regulatory Commission, or its successor; or

C.  Persons operating steam heating boilers, hot water heating boilers and hot water supply boilers located in schoolhouses or owned by municipalities.

Sec. 3.  32 MRSA §15109, sub-§7, as amended by PL 2001, c. 323, §38, is further amended by repealing and replacing the first paragraph to read:

7.  Scope of licenses.  The scope of a boiler operator's license and 4 classes of engineering licenses is as set out in this subsection.

Sec. 4.  32 MRSA §15109, sub-§7, ¶A, as enacted by PL 1995, c. 560, Pt. H, §14 and affected by §17, is repealed.

Sec. 5.  32 MRSA §15109, sub-§7, ¶B, as amended by PL 2001, c. 323, §38, is further amended to read:

B.  The holder of a high pressure boiler operator's license may operate, supervise or have charge of a heating plant having a capacity of not more than 20,000 #/HR or operate or supervise a plant up to the capacity of the license of the engineer in charge of the plant in which the licensee is employed.  The applicant for a high pressure boiler operator's license must have 6 months' operating experience prior to examination under a boiler operator's training permit.  The board shall issue a permit for the purpose of gaining that experience upon receipt of an application fee and permit fee set by the director under subsection 9.  Such permit must be limited to a specified plant and must be limited to one year.  The board may extend the permit for a period not to exceed one year under unusual circumstances. The board may allow the owner of a small plant to sit for the high pressure boiler operator's examination without first obtaining a boiler operator's training permit.

Sec. 6.  32 MRSA §15109, sub-§7, ¶C, as amended by PL 1999, c. 386, Pt. W, §18, is further amended to read:

C.  The holder of a 4th-class engineer's license may have charge of a plant of not more than 50,000 #/HR or operate or supervise a plant up to the capacity of the license of the engineer in charge of the plant in which the licensee is employed.  An applicant for a 4th-class engineer's license must be a high school graduate or have equivalent education and at least one year of operating or supervising experience under a duly licensed engineer having charge of a plant.  An applicant for a 4th-class engineer's license must have at least one year operating or supervising experience as a high pressure boiler operator.